RECREATIONAL VEHICLE DUMPS CONNECTED TO THE

LOCKWOOD WATER & SEWER DISTRICT SANITARY SEWER SYSTEM

All public recreational vehicle dump stations, existing and proposed, which are connected to the Lockwood Water & Sewer District sanitary sewer system, shall comply with the following conditions:

- Each RV dump station shall be constructed to conform to the attached copy of the Lockwood Water & Sewer District RV Dump Standard.

- If the dump station is not continuously monitored by an attendant, the inlet hatch shall be secured by a lock between uses.

- Signage specifying:  “Use is for Recreational Vehicle sanitary wastes only.  Penalties will be levied for non-RV waste disposal.” must be posted in allocation readily visible by dump station users.

- A sign is to be posted in the business familiarizing employees with the rules for the dump station.

- Dump station must be kept clean and free of debris at all times.

- Where the water is supplied by the Lockwood Water & Sewer District system, a reduced pressure backflow preventer assembly shall be installed immediately downstream from the water meter serving the dump station.

7.  An Industrial Users Permit will be required for each RV dump station connected to the Lockwood

Water & Sewer District sanitary sewer system.