LOCKWOOD WATER & SEWER DISTRICT

WASTEWATER COLLECTION SYSTEM

APPLICATION FOR INSTALLING A SAND-OIL INTERCEPTOR

1.	Applicant’s Name:

2.	Mailing Address:

3.	Name and address of

architect or engineer

acting for applicant:

4.	Physical address and legal description of property where business and interceptor is located:

5.	Describe general business activities and list Standard Industrial Classification (SIC) number(s):

6.	Describe specific industrial processes generating the wastewater to be treated through the interceptor; list or describe the suspected contaminants in the wastewater (i.e., oil, grease, road grime, food waste, snowmelt, equipment or floor washdown, causitics/acids, cooling water, etc.):

7.	Estimated flow through interceptor:		 ( gallons ) per 		 ( day / week / month )

circle one

8.	Attach a simple plan drawing and process flow diagram showing the building layout, sewer and drain connections and routing, and the location of the proposed interceptor.

9.	I, the undersigned owner of the subject property, petition the Lockwood Water & Sewer District to grant and approve the installation of an interceptor to be used for the purpose described above.  It is proposed to install an interceptor of LWSD-approved design according to all ordinances, rules, regulations, and policies of the District.

If this application is approved, I agree to begin constructing the interceptor to serve the subject property within one year of the date of this application.  After constructing the interceptor, I agree to notify the District for inspection purposes prior to any discharge from the interceptor.

I understand that approval of the proposed interceptor does not in any way waive or limit the District’s authority to require monitoring or sampling of interceptor effluent for compliance with discharge limitations set forth in District ordinances, rules, regulations, and policies.  As a result of any compliance monitoring conducted, further information collected, or changing ordinances, rules, regulations, and policies, I understand that the District may determine in the future that it is necessary to require additional pretreatment of the wastewater discharge and/or control the discharge under the authority of an Industrial Users Permit.

Applicant’s signature

10.	LOCKWOOD WATER & SEWER DISTRICT ACTION:

Denied:		, 20

Granted:		, 20

BY:

DISCHARGING OF VEHICLE WASH FACILITY WASTES

INTO

SANITARY SEWERS OF THE LOCKWOOD WATER & SEWER DISTRICT

All vehicles wash facilities requesting permission to discharge pretreated process wastes into the Lockwood Water & Sewer District sanitary sewer system shall comply with the following conditions prior to being permitted to discharge such wastes.  For the purposes of this policy, the term Avehicle@ wash facilities shall include vehicles of whatever nature:

1.      Submission of an application for installing a sand-oil interceptor to the Distribution &

Collection Division for their review and approval.  Such application shall include

plans/details showing the pretreatment facilities to be installed.

- The providing of approved flow-equalizing, pretreatment, and sampling facilities to

meet the requirements of Article 26-600, Billings, Montana City Code and Chapters           22 and 24 of the Rules and Regulations of the Public Works Department as well as           any other applicable City ordinance and the City Plumbing Code (see attached                  Standard Drawing for minimum requirements).  Wash facilities may be required to            apply for and operate under the guidance of an Industrial Users Permit in                        conformance with Section 26-600, Billings, Montana City Code.

Pretreatment facilities shall be constructed and continuously maintained in a                             satisfactory, safe and effective condition by the facility owner at his expense.

All pretreatment facilities shall be readily accessible for cleaning, inspection and                         sampling.  The owner shall be responsible for the removal and proper disposal of                       the captured material in conformance with applicable laws and regulations.  The                        owner shall maintain a log showing all activities associated with the pretreatment                      facilities, to include dates and descriptions of maintenance activities, person(s)                          performing the activity, and means of and person(s)/business responsible for                            disposal of solids removed during cleaning.  This log shall be available for inspection                   by authorized personnel at all times.

3.      When requested by the District, the facility owner shall provide, at his expense,                         equipment and a means for sampling and monitoring his discharge.  Such                                 monitoring shall be done in conformance with the applicable portions of Section 26-                   600, Billings, Montana City Code, Chapters 22 and 24 of the Rules and Regulations                    of the Public Works Department and as approved by the Public Works Department.

4.      Only biodegradable detergents supplied by the facility owner shall be used.  Any                        other formulations supplied by users, such as parts cleaning compounds, shall be                      prohibited.

5.       Washing shall be limited to exterior of vehicles or accessories (trailers or the like)                      where road grime (dirt) is the principal contaminant.  Cleaning of road tar, asphalt,                    or other such contaminants is prohibited.  Cleaning of engines, miscellaneous                            parts, or similar such items is prohibited.  Contents of tanks or trailers shall not be                     discharged, nor the inside of tanks or trailers washed at these facilities.  The                             potential exception to this prohibition would be the cleaning and sanitizing of tanks                    or trailers used to haul food products.  Such cleaning can only be conducted under                    the provisions of an Industrial Users Permit.

6.       Facilities shall have legible signs conspicuously posted clearly stating operating                          rules and restrictions (see attached Wash Facility Sign Standards for                                         requirements).  Such signs shall contain the minimum requirements specified by                        the District.  Owners shall regularly monitor their facility to assure compliance.

7.       Facility owners shall certify on a regular basis established by the District as to their                    compliance with the applicable rules.  Such certification will include                                           acknowledgment that violation of any rules or regulations, including failure to                            submit required certification, can lead to fine or discontinuance of service.

8.       Interior wash facilities operated in conjunction with other uses shall be separated                      from such other activities by walls or be elevated above surrounding areas.                               Openings in such walls, such as doors, shall have a ramped curb across the                              opening.

9.       Wash facilities for vehicles other than cars generally are not allowed to connect and                    discharge wash wastes to the sanitary sewer system.  Each such facility is subject                     to review on an individual basis.  In the event such a connection is allowed, such                       facility may be subject to additional conditions and restrictions beyond this subject                     policy including, but not limited to, obtaining an Industrial Users Permit in                                 conformance with Section 26-600, Billings, Montana City Code.

10.     Wash facilities shall be protected from extraneous waste flows, such as rainwater,                      storm runoff and snow melt, by covering the facility and sloping adjoining ground                      away from drains.

11.     Failure to comply with these conditions will, in addition to any other penalties                           available, be cause for the District to discontinue water and/or sanitary sewer                            service to the property involved.

WASH FACILITY SIGN STANDARDS

The sign shall be posted at the location of the interceptor.

The sign letters shall be a minimum 1’ in height consisting of black letters on white background.

The sign shall be made of water proof material.

The sign shall include as a minimum the following rules:

1. WASH EXTERIOR OR VEHICLES/TRAILERS ONLY. 2. CLEANING OF ENGINES, MISCELLANEOUS PARTS, OR SIMILAR ITEMS IS PROHIBITED.` 3. NO WASHING OF TANK INTERIORS OR EMPTYING OF TANKS. 4. USE OF ANY CLEANERS, OTHER THAN AS FURNISHED, IS PROHIBITED. 5. NO CLEANING OF STOCK TRAILERS, ETC.